## Slide 1: Integration of Variable Energy Resources in PJM
Stu Bresler
Senior VP, Markets
PJM Interconnection
March 30, 2016

## Slide 2: Percentage of Renewable Energy is Small but Growing
PJM Generation Mix - 2015

## Slide 3: Proposed Wind Generation in PJM
Notes: Schuyler updated 12/2016

## Slide 4: Wind Projects (Study, Construction & Suspended)

## Slide 5: Solar Capacity in PJM by State

## Slide 6: Solar PV in PJM
Notes: Work to date: Full-scale evaluation of solar PV impact to PJM, including economic modeling (next slide)
Thanks to GATS, our visibility into BTM solar is good, but static. Advancing our visibility by forecasting generation output is the next step, and we’re pursuing a solar forecasting tool as we speak through a recently issued RFP. Operational in the control room in 2016 (?)

## Slide 7: PJM Demand Response has captured much existing DER
DER includes distributed generation and storage. Excludes resources in state regions outside of PJM.
Chart: DER Capacity by State (excl. solar and wind)
| DC | DE | IL | IN | KY | MD | MI | NC | NJ | OH | PA | TN | VA | WV
Unregistered DER | 14.475 | 6.8 | 382.023 | 141.235 | 30.109 | 162.3904 | 10.69 | 202.021 | 403.6005 | 737.51 | 566.213 | 194.3 | 586.478 | 236.635
DER in PJM demand response | 6.469 | 2.8636 | 504.5663 | 14.8647 | 15.032 | 233.3939 | 66.956 | 650.8446 | 495.3532 | 635.6979 | 42.257

## Slide 8: Impact of Increasing Wind Penetration
Minute-to-Minute
Additional generation needed to provide regulation
Intra-Hour
Conventional generators must adjust output
Day Ahead
Forecast errors cause over- or under-scheduling
Impacts of wind power variability and uncertainty.

## Slide 9: Impact of Increasing VER Penetration
Characteristic | Impact to Integration Cost
Larger balancing areas | Reduces overall increase in variability Less regulation and ramping service required
Faster markets, i.e., shorter scheduling intervals (5-15 minutes) | Less regulation required to accommodate intra-hour variations
Larger geographic area | Increases weather diversity and reduces overall variability
Centralized wind power forecasting | Cost-effective approach to reduce scheduling impacts
Regional / Interregional Transmission Planning | Cost-effective upgrades to ensure grid reliability and mitigate congestion
Regional markets reduce Variable Energy Resource integration costs

## Slide 10: Consequences of Continuing Solar Deployment
Stakeholder | Impact in 2030 | BTM Solar | Utility Solar
PJM Operations | New net load curve, shifted peaks |  | 
PJM Ops + Planning | Wide-scale solar trip event contingency |  | 
PJM Markets | Impact on capacity prices. Possible reduction in LMP |  | 
PJM Finance | PJM stated rates revenue reduced by ~$3 million |  | 
Members | Reduced energy sales  increased rates |  | 
States | Shifting policy drivers |  | 
Source: IHS. GWac. Excludes partial PJM states except 20% of NC and 50% of IL.
IHS forecasts for cumulative solar:
 | 2015 | 2030
BTM | 2 GW | 7.5 GW
Utility | 0.6 GW | 5 GW
Notes:   Explosive growth scenario means impact is higher, sooner, and grows faster.
  Near-full solar eclipse near noon is another contingency consideration, though none are expected through 2030 in PJM.

## Slide 11: PJM Initiatives to Address Impacts
Energy Markets / Operations
  Implemented a centralized wind power forecast service.
  Implemented changes to improve wind resource dispatch / control.
  Demand Response / Price Responsive Demand improves operational flexibility
  Frequency Regulation – incents better performing resources (like storage)
  Interchange Scheduling – compliant with FERC Order 764 (15-minute intervals)
  Transmission Planning
  Light load criteria implemented to improve grid reliability
  Expansion planning considers public policy impacts (i.e., RPS)
  Grid interconnection – enhanced standards for new inverter-based resources (wind and solar)
  Evaluating Potential Grid Impacts
  PJM Renewable Integration Study (PRIS) - assessed grid impacts
  Advanced Technology Research Program (ATRP)
  Pilot programs to evaluate new technologies and remove barriers to participation in PJM markets and operations.

## Slide 12: The Future of DR is DER
Evolving the PJM Demand Response Model
  Inclusive of net-injection resources (storage, microgrids)
  Better coordination with distribution system operator
Smart Inverters
  Grid codes that enhance reliability and resiliency
  New control architectures
Independent Distribution System Operations
  Optimized planning and control (D-LMP?)
  Tighter alignment of wholesale and retail pricing for services
  Competitive environment for distribution-level services