## Slide 1: Jason Burwen Vice President of Policy September 17, 2019
Raab Roundtable
Scaling Up Storage

## Slide 2
Our Members
manufacturers
component suppliers
system integrators
developers
independent generators
electric utilities
large end-users
law, finance, consulting
Technologies represented
battery storage
thermal storage
mechanical storage
power-to-gas storage

## Slide 3: U.S. grid battery storage now past the 1 GW mark
End of 2018: 1 GW (2 GWh) batteries online
+ 22 GW pumped hydro storage
Battery Storage MW Operational and in Development, Dec 2018

## Slide 4: Battery storage installed costs continue to drop
Cost declines of 8-10% year-on-year expected through mid 2020s
Chart: $/kW
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
IHS 2016 | 2640 | 2400 | 2200 | 2000 | 1800 | 1680 | 1600
NREL 2017 | 2370 | 1432.8
DNV GL 2017 | 1890.23 | 1489.97
Navigant (Base) 2017 | 2050 | 1932.4 | 1809.2 | 1686.2 | 1606.2 | 1513.8
Navigant (Low) 2017 | 1557 | 1464.6 | 1390.8 | 1280 | 1237 | 1181.6
Lazard (Low) 2017 | 1340 | 1164 | 1047.6 | 942.84 | 848.556
Lazard (High) 2017 | 1700 | 1530 | 1377 | 1239.3 | 1115.37
NYSERDA 2018 | 1600 | 1280 | 840
NIPSCO (Median) 2018 | 1771 | 1697 | 1569 | 1451 | 1366 | 1270 | 1206
NIPSCO (25th Pctile) 2018 | 1547 | 1441 | 1323 | 1227 | 1142 | 1056 | 982
Bulk-scale 4-hour lithium-ion battery installed cost ($/kW)
Notes: Nitzan
(we may add a slide on cost-effectiveness today)

## Slide 6: As storage costs go down, size & duration go up
2012: 36 MW, 40 min battery in ERCOT
2016: 30 MW, 4 hour battery in SDG&E
2020: 300 MW, 4 hour battery in PG&E (approved)
2017: 100 MW, 75 min battery in Australia
2008: 1 MW, 15 min battery in PJM
Shift from primarily providing ancillary services to increasingly providing capacity / resource adequacy
All battery storage installed 2003-2017: 800 MW / 1200 MWh
Single PG&E battery in 2020:
300 MW / 1200 MWh
DER storage aggregations
to follow
(largest today ~20 MW)

## Slide 7: Storage as a mainstream capacity option

## Slide 8: Examples of power plant sized batteries
Operating
  SCE/Tesla (CA) 20 MW, 4-hr
  SDG&E/Fluence (CA) 30 MW, 4-hr
  KIUC/Fluence (HI) 20 MW, 5-h
Approved / in development
  PG&E/Vistra 20 MW, 4-hr
  SRP/Fluence (AZ) 10 MW, 4-hr
  SCE/Fluence (CA) 100 MW, 4-hr
  PG&E (CA) 562 MW, 4-hr
  Xcel (Colorado): 275 MW, 4-hr
  HECO (Hawaii): 262 MW, 4-hr
  NV Energy (Nevada): 100 MW, 4-hr
"We believe now that utility-scale battery storage, from a technology standpoint, is sufficiently viable to begin to displace, if you will, what has been virtually exclusively natural gas as that flexible, ramping, backstop resource.”
-- Daniel Froetscher, VP of Operations, APS

## Slide 9: Grounding the conversation
State actions to drive storage will influence RTOs
RTOs doing work, running into issues
  841 specific
  Beyond 841
Themes to come
  State & federal authority
  Competition

## Slide 10: Thank you!
Jason Burwen j.burwen@energystorage.org