## Slide 1: Reliability and Resiliency
Ralph Izzo, Chairman, President and CEO, PSEG

## Slide 2: 2014 Polar Vortex
Temperature (Daily average, EWR)
FAHRENHEIT

## Slide 3: Electricity Demand
PS Zone Load
MWh

## Slide 4: Electricity Prices
Western Hub Day Ahead RTC LMP

## Slide 5: Gas Demand
Total Sendout
MDth

## Slide 6: Gas Prices
Transco Z6

## Slide 7: Curtailment
Electric Generation Gas Usage
MDth

## Slide 8: Post-Superstorm Sandy
Actions taken:
  Eliminating, raising or rebuilding 19 substations that flooded during severe weather events. At the end of the five-year Energy Strong program, 26 protected substations will be in service. $395 million

## Slide 9: Post-Superstorm Sandy
Actions taken:
  Installing 240 miles of new, plastic gas mains in flood-prone areas. $370 million

## Slide 10: Post-Superstorm Sandy
Actions taken:
  Providing the capability to remotely make changes on circuits. $106 million

## Slide 11: Post-Superstorm Sandy
Actions taken:
  Creating redundancy and installing automated devices that allow equipment to be controlled remotely, protecting 260 critical customers. $84 million

## Slide 12: Post-Superstorm Sandy
Actions taken:
  Raising and hardening eight gas meter and regulating stations. $25 million

## Slide 13
Reliability is no longer enough.
Resiliency matters.