## Slide 1: Energy Storage Participation in PJM
Adam Keech
Executive Director, Market Operations, PJM
Energy Storage Roundtable
February 22, 2017

## Slide 2: Storage at All Voltages

## Slide 3: Regulation: Choosing the right tool for the job…
Notes: Energy storage (left), Steam (right)
Need both, but each has a specific skill set. Finding optimal mix is key.

## Slide 4: Measuring Performance
(MW)*($/MW)*(Performance Score) = Revenue
Accuracy, 95%
Precision, 74%
Delay, 66%
Score, 78%

## Slide 5: Regulation Problem Statement
Reliability Issue: RegD control signal moving in the opposite direction of ACE control
  Need RegD signal to provide ACE control at all times, no counter ACE control movement
Market Issue: Inconsistency in the market optimization and financial signal for the RegD market place

## Slide 6: New Regulation Signals
Updated PJM regulation signals goals
ACE Control
Respect resource limitations
Reg-A: Traditional Signal
  Accommodation for unit ramping
Reg-D: Dynamic Signal
  30 minute conditionally neutral signal
    Signal will opportunistically charge/discharge to keep signal neutral over 30 minute period (only when RegA available)

## Slide 7: Storage/DER NOPR
Key Points:
Changes are underway in PJM!
Storage can already participate today. Rules may need refinement.
Clarity is needed from FERC on state/federal jurisdictional issues.
  In front of the meter with occasional retail use
  Behind the meter with wholesale injections
RESPECT, not MANAGE, state of charge.

## Slide 8
Let’s Talk . . .